Garment Measuring Guide

The following guide is intended as an aid to

 help the user select the correct size garment .

The treatment type will determine the garment type e.g. hydroven® 1 for uniform compression, hydroven® 3 for graduated pressure or hydroven® 12 for specialist multi chamber therapy.

When determining the correct size garment:

* Remove any bandaging, stockings or bulky dressings
* Measure the points as shown on the diagram below
* DO NOT pull the measuring tape tight
* Make sure the garment extends beyond the area under treatment

Refer to the garment list at the end of this document.



Half Leg Length

Full Leg Length

Hand Circumference

Half Arm Length

Thigh Circumference

Full Arm Length

Below Elbow Circumference

Below Knee Circumference

**Arm Sizing**

Upper Arm Circumference

**Leg Sizing**

|  |
| --- |
| **Hydroven - 1 SINGLE Chamber Leg Garments** |
| **Order Code** | **Type** | **Length (L)** | **Thigh Circumference (W)** |
| 5101L50 | Half Leg | 50cm | 61cm |
| 5101L66 | Full Leg | 66cm | 64cm |
| 5101L71 | Full Leg | 71cm | 66cm |
| 5101L76 | Full Leg | 76cm | 72cm |
| 5101L84 | Full Leg | 84cm | 72cm |
| 5101L92 | Full Leg | 92cm | 72cm |

|  |
| --- |
| **Hydroven - 3 THREE Chamber Leg Garments** |
| **Order Code** | **Type** | **Length (L)** | **Thigh Circumference (W)** |
| 5103L50 | Half Leg | 50cm | 61cm |
| 5103L66 | Full Leg | 66cm | 64cm |
| 5103L71 | Full Leg | 71cm | 66cm |
| 5103L76 | Full Leg | 76cm | 72cm |
| 5103L84 | Full Leg | 84cm | 72cm |
| 5103L92 | Full Leg | 92cm | 72cm |

|  |
| --- |
| **Hydroven - 1 SINGLE Chamber ARM Garments** |
| **Order Code** | **Type** | **Length (L)** | **Circumference Hand (H)** | **Circumference Shoulder (S)** |
| 5101A51 | Half Arm | 51cm | 44cm | 56cm |
| 5101A68 | Full Arm | 68cm | 44cm | 62cm |
| 5101A78 | Full Arm | 78cm | 44cm | 62cm |

|  |
| --- |
| **Hydroven - 3 THREE Chamber ARM Garments** |
| **Order Code** | **Type** | **Length (L)** | **Circumference Hand (H)** | **Circumference Upper Arm (S)** |
| 5103A68 | Full Arm | 68cm | 44cm | 62cm |
| 5103A78 | Full Arm | 78cm | 44cm | 62cm |

|  |
| --- |
| **Hydroven - INSERTS****(Compatible with Hydroven 1 and Hydroven 3 garments)** |
| **Order Code** | **Type** | **Length (L)** | **Added Circumference Wide End** | **Added Circumference Narrow End** |
| 510LI50 | Half Leg Insert | 50cm | 19cm | 14cm |
| 510LI66 | Full Leg Insert | 66cm | 19cm | 14cm |
| 510LI71 | Full Leg Insert | 71cm | 19cm | 14cm |
| 510LI76 | Full Leg Insert | 76cm | 19cm | 14cm |
| 510LI84 | Full Leg Insert | 84cm | 19cm | 14cm |
| 510LI92 | Full Leg Insert | 92cm | 19cm | 14cm |
| 510AI68 | Full Arm Insert | 68cm | 17cm | 12cm |
| 510AI78 | Full Arm Insert | 78cm | 17cm | 12cm |

|  |
| --- |
| **Hydroven 12 - TWELVE Channel Arm Garments** |
| **Order Code** | **Type** | **Length (L)** | **Circumference Upper Arm (S)** |
| 316A68 | Full Arm | 68cm | 62cm |
| 316A78 | Full Arm | 78cm | 62cm |
| **Hydroven - 12 TWELVE Channel Arm Inserts** |
| **Order Code** | **Type** | **Length (L)** | **Additional Width at Upper Arm** |
| 316AI68 | Full Arm | 68cm | 17cm |
| 316AI78 | Full Arm | 78cm | 17cm |

|  |
| --- |
| **Hydroven 12 - TWELVE Channel Leg Garments** |
| **Order Code** | **Type** | **Length (L)** | **Thigh Circumference** |
| 316L76S | Standard Leg | 76cm | 71cm |
| 316L84S | Standard Leg | 84cm | 71cm |
| 316L76W | Wide Leg | 76cm | 79cm |
| 316L84W | Wide Leg | 84cm | 79cm |
| **Hydroven - 12 TWELVE Channel Leg Inserts** |
| **Order Code** | **Type** | **Length (L)** | **Additional Width at Thigh** |
| 316LI76 | Leg Insert | 76cm | 19cm |
| 316LI84 | Leg Insert | 84cm | 19cm |